- Section 1: Dilution Calculations

- ​Q1: Using the Dilution Formula (C_1V_1 = C_2V_2)

- You have a stock solution of 100% concentration. You need to prepare 2 Liters of a 70% solution.

- ​A) Calculate the volume of stock required (V_1).

- ​B) Calculate the volume of water to be added.

- ​Q2: Dilution Factor (D.F.)

- If you transfer 1 ml of a sample into a tube containing 19 ml of water:

- ​A) What is the total volume?

- ​B) What is the Dilution Factor (Ratio)?

- ​Q3: Serial Dilution

- In a 5-tube serial dilution, you transfer 1 ml into 9 ml of water in each step.

- ​Tube #1 is 1/1 (Original).

- ​Question: What is the concentration in Tube #5?

- ​Section 2: Multiple Choice Questions (MCQ)

- ​1. To prepare a solution accurately, you should read the volume at:

- ​A) The top of the meniscus.

- ​B) The bottom of the meniscus at eye level.

- ​C) Any level as long as the tube is straight.

- ​2. When mixing Acid and Water, the safety rule is:

- ​A) Add Water to Acid (W.A.).

- ​B) Add Acid to Water (A.W.).

- ​C) Mix them both at the same time.

- ​3. Which instrument is used to transfer a specific, small volume of liquid during dilution?

- ​A) Beaker.

- ​B) Volumetric Flask.

- ​C) Pipette.

- ​Section 3: Lab Protocol & Safety

- ​Q4: Order the following steps for solution preparation (1 to 7):

- ​( ) Label properly.

- ​( ) Weigh solute accurately.

- ​( ) Calculate required amount.

- ​( ) Make up to final volume.

- ​( ) Dissolve in suitable solvent.

- ​( ) Mix thoroughly.

- ​( ) Transfer to volumetric container.

- ​Q5: Mention 4 items that MUST be written on a solution Label:

- ​_______________

- ​_______________

- ​_______________

- ​_______________

- ​Section 4: Answer Key (For Self-Checking)

- ​Q1: A) 1.4 L (1400 ml) | B) 600 ml water.

- ​Q2: A) 20 ml | B) 1:20.

- ​Q3: 1/10,000 (1 in 10 thousand).

- ​MCQ: 1-B, 2-B, 3-C.

- ​Q4 Order: 7, 2, 1, 5, 3, 6, 4.

- ​Q5: Name, Concentration, Date, Prepared by (or Expiry).